These documents provide information and best practices surrounding Laser Safety.  You will find example SOP’s, Alignment Guidelines, ANSI and Regulatory Preferences, Eyewear suggestions and Laser Equipment vendors.

ANSI and Regulatory References

- ANSI Z136.1, 2014 (or latest revision) American National Standard for Safe Use of Lasers

- ANSI Z136.2, 2012 (or latest revision), American National Standard for the Safe Use of Optical Fiber Communication Systems Utilizing Laser Diodes and LED Sources

- ANSI Z136.3, 2018 (or latest revision), American National Standard for the Safe Use of Lasers in Health Care Facilities

- ANSI Z136.4, 2010 (or latest revision), American National Standard for Laser Safety Measurements for Hazard Evaluation

- ANSI Z136.5, 2009 (or latest revision), American National Standard for the Safe Use of Lasers in Educational Institutions

- ANSI Z136.6, 2005 (or latest revision), American National Standard for the Safe Use of Lasers Outdoors

- ANSI Z136.7, 2008 (or latest revision), American National Standard for Testing and Labeling of Laser Protective Equipment

- ANSI Z136.8, 2012 (or latest revision) American National Standard for Safe Use of Lasers in Research, Development, or Testing

- ANSI Z136.9, 2013 (or latest revision) American National Standard for Safe Use of Lasers in Manufacturing

- 8 CCR 1801 (CA OSHA construction laser safety

- 8 CCR 3382(e) (CA OSHA Eye and Face Protection – General Industry)

- 8 CCR 8617 (CA OSHA Eye Protection – Telecommunications)

- Federal OSHA Laser Hazards Technical Manual.

Eyewear for Short Pulse Lasers

- SELECTING EYEWEAR FOR SHORT PULSE LASERS, Johnny Jones, Laser-Professionals, Inc, March 22, 2006.

- “Reliability of Laser Safety Eye Wear in The Femtosecond Regime,” Lenne, Fiedler and Spielmann, Optical Society of America 5 April 2004 / Vol. 12, No. 7

Laser Equipment Vendors

- 80/20, Inc., Columbia City, IN, 260-248-8030, framing, stanchions, etc.

- CAL-AV Labs, AZ, 520-624-1300, illuminated warning signs

- Edmund Optics, Barrington, NJ 800-363-1992; optics, lasers, eyewear, imaging, testing and measurement devices

- FJW Optical Systems, IL, 847-358-2500, IR/UV viewers and cameras

- Honeywell, eyewear

- Kentek, NH, 800-432-2323, eyewear, viewing acrylic, etc.

- Laminators, Inc., PA, 877-663-4277, Alumalite and Econolite for barriers and enclosures

- Laser Institute of America, Orlando, FL 407-380-1553

- LaserPoint, +39 02 2740 0236, Sergio Pellegrino, power meters

- Laser Safety Industries, Minneapolis, MN, 888-752-7370, eyewear, barriers, curtains, windows, sheets, etc.

- Lasermet LTD, UK, 44 (0)1202 770 740, various laser safety equipment

- Laservision USA, MN, 800-393-5565 or 651-357-1800, eyewear, optical coatings, curtains, etc.

- Lumitek International, MD, 866-586-4835, IR detection, eyewear

- Newport, CA, 800-222-6440, optics, viewers, etc.

- Newport New Lab Savings Program: https://www.newport.com/o/mks-new-lab-savings-program.

- NoIR Laser Company, MI, 800-521-9746, laser shields and filters, eyewear

- Ophir-Spiricon Inc., UT, 435-753-3729, laser Measurement Instruments

- Opto-Sigma, Mao Phavantha, 949-851-5881, mao.phavantha@optosigma.com, optics, coatings, optomechanics motorized stages, systems

- Rockwell Laser Industries, OH, 513-271-1568

- Thorlabs, NJ, 973-579-7227, lasers, optics, tables, etc.

- Uvex, RI, 800-343-3411, eyewear

#### Laser Barrier Curtain

- Kentek, NH, 800-432-2323, FLEX-GUARD™ (allowed in fully sprinkled buildings in accordance with NFPA 101)

- Laservision USA, MN, 800-393-5565 or 651-357-1800

- Laser Safety Industries, MN, 888-752-7370

- Rockwell Laser Industries, OH, 513-271-1568